## All Input Parameters
S No | INPUT PARAMETERS
1 | TOTAL AIR FLOW SETPOINT
2 | TOTAL AIR FLOW (%BMCR)
3 | FURNACE DRAFT PRESS
4 | O2 MASTER DEMAND
5 | FDF A BLADE ANGLE CD FB
6 | FDF B BLADE ANGLE CD FB
7 | IDF-A BLADE PITCH CD FB
8 | IDF-B BLADE PITCH CD FB
9 | WB INLET HOT SECONDARY AIR PRESS 3
10 | WB INLET HOT SECONDARY AIR PRESS 4
11 | AUX-2 CRNR 1 CNTRL DMPR POS
12 | AUX-2 CRNR 2 CNTRL DMPR POS
13 | AUX-2 CRNR 3 CNTRL DMPR POS
14 | AUX-2 CRNR 4 CNTRL DMPR POS
15 | AUX-2 CRNR 5 CNTRL DMPR POS
16 | AUX-2 CRNR 6 CNTRL DMPR POS
17 | AUX-2 CRNR 7 CNTRL DMPR POS
18 | AUX-2 CRNR 8 CNTRL DMPR POS
19 | AUX-2 CRNR 1,2,7,8 CNTRL DMPR CONTROL DEMAND
20 | AUX-2 CRNR 3,4,5,6 CNTRL DMPR CONTROL DEMAND
21 | HFO/LDO BNR AB CRNR 1 DMPR POS
22 | HFO/LDO BNR AB CRNR 2 CNTRL DMPR POS
23 | HFO/LDO BNR AB CRNR 3 DMPR POS
24 | HFO/LDO BNR AB CRNR 4 CNTRL DMPR POS
25 | HFO/LDO BNR AB CRNR 5 CNTRL DMPR POS
26 | HFO/LDO BNR AB CRNR 6 CNTRL DMPR POS
27 | HFO/LDO BNR AB CRNR 7 CNTRL DMPR POS
28 | HFO/LDO BNR AB CRNR 8 CNTRL DMPR POS
29 | HFO BNR CD CRNR 1 CNTRL DMPR POS
30 | HFO BNR CD CRNR 2 CNTRL DMPR POS
31 | HFO BNR CD CRNR 3 DMPR POS
32 | HFO BNR CD CRNR 4 CNTRL DMPR POS
33 | HFO BNR CD CRNR 5 CNTRL DMPR POS
34 | HFO BNR CD CRNR 6 CNTRL DMPR POS
35 | HFO BNR CD CRNR 7 CNTRL DMPR POS
36 | HFO BNR CD CRNR 8 CNTRL DMPR POS
37 | HFO BNR EF CRNR 1CNTRL DMPR POS
38 | HFO BNR EF CRNR 2 CNTRL DMPR POS
39 | HFO BNR EF CRNR 4 CNTRL DMPR POS
40 | HFO BNR EF CRNR 5 CNTRL DMPR POS
41 | HFO BNR EF CRNR 6 CNTRL DMPR POS
42 | HFO BNR EF CRNR 6 CNTRL DMPR POS
43 | HFO BNR EF CRNR 7 CNTRL DMPR POS
44 | HFO BNR EF CRNR 8 CNTRL DMPR POS
45 | HFO/LDO BNR AB CRNR 1 CNTRL DMPR RB
46 | HFO/LDO BNR AB CRNR 2 CNTRL DMPR RB
47 | HFO/LDO BNR AB CRNR 3 CNTRL DMPR RB
48 | HFO/LDO BNR AB CRNR 4 CNTRL DMPR RB
49 | HFO/LDO BNR AB CRNR 5 CNTRL DMPR RB
50 | HFO/LDO BNR AB CRNR 6 CNTRL DMPR RB
51 | HFO/LDO BNR AB CRNR 7 CNTRL DMPR RB
52 | HFO/LDO BNR AB CRNR 8 CNTRL DMPR RB
53 | HFO BNR CD CRNR 1 CNTRL DMPR RB
54 | HFO BNR CD CRNR 2 CNTRL DMPR RB
55 | HFO BNR CD CRNR 3 CNTRL DMPR RB
56 | HFO BNR CD CRNR 4 CNTRL DMPR RB
57 | HFO BNR CD CRNR 5 CNTRL DMPR RB
58 | HFO BNR CD CRNR 6 CNTRL DMPR RB
59 | HFO BNR CD CRNR 7 CNTRL DMPR RB
60 | HFO BNR CD CRNR 8 CNTRL DMPR RB
61 | HFO BNR EF CRNR 1CNTRL DMPR RB
62 | HFO BNR EF CRNR 2 CNTRL DMPR RB
63 | HFO BNR EF CRNR 3 CNTRL DMPR RB
64 | HFO BNR EF CRNR 4 CNTRL DMPR RB
65 | HFO BNR EF CRNR 5 CNTRL DMPR RB
66 | HFO BNR EF CRNR 6 CNTRL DMPR RB
67 | HFO BNR EF CRNR 7 CNTRL DMPR RB
68 | HFO BNR EF CRNR 8 CNTRL DMPR RB
69 | COAL BNR A CRNR 1 CNTRL DMPR POS
70 | COAL BNR A CRNR 2 CNTRL DMPR POS
71 | COAL BNR A CRNR 3 CNTRL DMPR POS
72 | COAL BNR A CRNR 4 CNTRL DMPR POS
73 | COAL BNR A CRNR 5 CNTRL DMPR POS
74 | COAL BNR A CRNR 6 CNTRL DMPR POS
75 | COAL BNR A CRNR 7 CNTRL DMPR POS
76 | COAL BNR A CRNR 8 CNTRL DMPR POS
77 | COAL BNR B CRNR 1 CNTRL DMPR POS
78 | COAL BNR B CRNR 2 CNTRL DMPR POS
79 | COAL BNR B CRNR 3 CNTRL DMPR POS
80 | COAL BNR B CRNR 4 CNTRL DMPR POS
81 | COAL BNR B CRNR 5 CNTRL DMPR POS
82 | COAL BNR B CRNR 6 CNTRL DMPR POS
83 | COAL BNR B CRNR 7 CNTRL DMPR POS
84 | COAL BNR B CRNR 8 CNTRL DMPR POS
85 | COAL BNR C CRNR 1 CNTRL DMPR POS
86 | COAL BNR C CRNR 2 CNTRL DMPR POS
87 | COAL BNR C CRNR 3 CNTRL DMPR POS
88 | COAL BNR C CRNR 4 CNTRL DMPR POS
89 | COAL BNR C CRNR 5 CNTRL DMPR POS
90 | COAL BNR C CRNR 6 CNTRL DMPR POS
91 | COAL BNR C CRNR 7 CNTRL DMPR POS
92 | COAL BNR C CRNR 8 CNTRL DMPR POS
93 | COAL BNR D CRNR 1 CNTRL DMPR POS
94 | COAL BNR D CRNR 2 CNTRL DMPR POS
95 | COAL BNR D CRNR 3 CNTRL DMPR POS
96 | COAL BNR D CRNR 4 CNTRL DMPR POS
97 | COAL BNR D CRNR 5 CNTRL DMPR POS
98 | COAL BNR D CRNR 6 CNTRL DMPR POS
99 | COAL BNR D CRNR 7 CNTRL DMPR POS
100 | COAL BNR D CRNR 8 CNTRL DMPR POS
101 | COAL BNR E CRNR 1 CNTRL DMPR POS
102 | COAL BNR E CRNR 2 CNTRL DMPR POS
103 | COAL BNR E CRNR 3 CNTRL DMPR POS
104 | COAL BNR E CRNR 4 CNTRL DMPR POS
105 | COAL BNR E CRNR 5 CNTRL DMPR POS
106 | COAL BNR E CRNR 6 CNTRL DMPR POS
107 | COAL BNR E CRNR 7 CNTRL DMPR POS
108 | COAL BNR E CRNR 8 CNTRL DMPR POS
109 | COAL BNR F CRNR 1 CNTRL DMPR POS
110 | COAL BNR F CRNR 2 CNTRL DMPR POS
111 | COAL BNR F CRNR 3 CNTRL DMPR POS
112 | COAL BNR F CRNR 4 CNTRL DMPR POS
113 | COAL BNR F CRNR 5 CNTRL DMPR POS
114 | COAL BNR F CRNR 6 CNTRL DMPR POS
115 | COAL BNR F CRNR 7 CNTRL DMPR POS
116 | COAL BNR F CRNR 8 CNTRL DMPR POS
117 | COAL BNR A CNR 1,3,5,7 CNTRL DMPR RB
118 | COAL BNR A CNR 2,4,8,6 CNTRL DMPR RB
119 | COAL BNR B CNR 1,3,5,7 CNTRL DMPR RB
120 | COAL BNR B CNR 2,4,8,6 CNTRL DMPR RB
121 | COAL BNR C CNR 1,3,5,7 CNTRL DMPR RB
122 | COAL BNR C CNR 2,4,8,6 CNTRL DMPR RB
123 | COAL BNR D CNR 1,3,5,7 CNTRL DMPR RB
124 | COAL BNR D CNR 2,4,8,6 CNTRL DMPR RB
125 | COAL BNR E CNR 1,3,5,7 CNTRL DMPR RB
126 | COAL BNR E CNR 2,4,8,6 CNTRL DMPR RB
127 | COAL BNR F CNR 1,3,5,7 CNTRL DMPR RB
128 | COAL BNR F CNR 2,4,8,6 CNTRL DMPR RB
129 | WB I/L HOT AIR CRNR 1,2 DMPR CD FB
130 | WB I/L HOT AIR CRNR 3,4 DMPR CD FB
131 | WB I/L HOT AIR CRNR 5,6 DMPR FB
132 | WB I/L HOT AIR CRNR 7,8 DMPR FB
133 | AA (L) CRNR 1 AA DMPR FB
134 | AA (L) CRNR 2 AA DMPR FB
135 | AA (L) CRNR 3 AA DMPR FB
136 | AA (L) CRNR 4 AA DMPR FB
137 | AA (L) CRNR 5 AA DMPR FB
138 | AA (L) CRNR 6 AA DMPR FB
139 | AA (L) CRNR 7 AA DMPR FB
140 | AA (L) CRNR 8 AA DMPR FB
141 | AA (L) CRNR 1 AA DMPR RB
142 | AA (L) CRNR 2 AA DMPR RB
143 | AA (L) CRNR 3 AA DMPR RB
144 | AA (L) CRNR 4 AA DMPR RB
145 | AA (L) CRNR 5 AA DMPR RB
146 | AA (L) CRNR 6 AA DMPR RB
147 | AA (L) CRNR 7 AA DMPR RB
148 | AA (L) CRNR 8 AA DMPR RB
149 | AA PORT TILT NOZ CRNR 1-I/P FB
150 | AA PORT TILT NOZ CRNR 2-I/P FB
151 | AA PORT TILT NOZ CRNR 3-I/P FB
152 | AA PORT TILT NOZ CRNR 4-I/P FB
153 | AA PORT TILT NOZ CRNR 5-I/P FB
154 | AA PORT TILT NOZ CRNR 6-I/P FB
155 | AA PORT TILT NOZ CRNR 7-I/P
156 | AA PORT TILT NOZ CRNR 8-I/P FB
157 | LOAD RATE
158 | MW DEMAND
159 | MWD (DELAY)
160 | GENERATOR MW
161 | MW DEVIATION(MW-MWD)
162 | MS LINE PRESS
163 | MS LINE A PRESS
164 | MS LINE B PRESS
165 | MSP DEVIATION
166 | MS PRESSURE SET
167 | MS PRESS SET (PT BACK UP PRESS)
168 | BOILER INPUT DEMAND
169 | TURBINE MASTER CONTROL SIGNAL
170 | WTR FUEL RATIO
171 | WTR SEP INL SUPERHEAT TEMP
172 | WTR SEP INL SUPERHEAT TEMPSET
173 | WTR SEP-2 INL SUPER HEAT RATE HIGH SET
174 | WTR SEP-1 INL SUPER HEAT RATE HIGH SET
175 | MS TEMP SET
176 | MS LINE TEMP
177 | MS LINE A TEMP
178 | MS LINE B TEMP
179 | MST-A DEV
180 | MST-B DEV
181 | A-T3SI SET AA
182 | B-T3SI SET FOR CV-BA
183 | 3RY SH A I/L TEMP
184 | 3RY SH B I/L TEMP
185 | #2DSDT
186 | 2RY SH-A DESHTR BYPASS SPRAY CV FB
187 | 2RY SH-B DESHTR BYPASS SPRAY CV FB
188 | 2RY SH-A DESHTR MAIN SPRAY CV FB
189 | 2RY SH-B DESHTR MAIN SPRAY CV FB
190 | 1RY SH-A DESHTR BYPASS SPRAY CV FB
191 | 1RY SH-B DESHTR BYPASS SPRAY CV FB
192 | 1RY RRWLL INTRM INL TEMP MAX
193 | 1RY SDWLL INTRM INL MTL TEMP (RIGHT) MAX
194 | 1RY SDWLL INTRM INL MTL TEMP (LEFT) MAX
195 | 1RY FRNTWLL INTRM INL TEMP MAX
196 | ECO INL FEED WTR PRESS (ENTHALPY)
197 | ECO INLET FEED WATER TEMP
198 | ECO INLET ENTALPY
199 | ECO OUTL HDR PRESS
200 | ECO OUTLET TEMP
201 | ECO OUTLET ENTHALPY
202 | WATER SEPARATOR OUTLET PRESS
203 | WATER SEPARATOR INLET TEMP
204 | WATER SEPARATOR INLET ENTHALPY
205 | MS LINE PRESS
206 | 3RY SH OUTLET TEMP
207 | 3RY SH OUTLET ENTAHLPY
208 | 1RY SH DSH FW FLO 1
209 | 1RY SH DSH FW FLO 2
210 | 1RY SH DSH FW FLO
211 | 1RY SH A O/L TEMP 1
212 | 1RY SH A O/L TEMP 2
213 | 1RY SH A O/L TEMP 3
214 | 1RY SH A O/L TEMP
215 | 1RY SH B O/L TEMP 1
216 | 1RY SH B O/L TEMP 2
217 | 1RY SH B O/L TEMP 3
218 | 1RY SH B O/L TEMP
219 | 2RY SH DSH FW FLO 1
220 | 2RY SH DSH FW FLO 2
221 | 2RY SH DSH FW FLO
222 | BRP SUCTION PRESS
223 | BRP DSCH PRESS
224 | BRP WARMING LINE FLO
225 | ECON I/L HDR FW TEMP 1
226 | ECON I/L HDR FW TEMP 2
227 | ECON I/L HDR FW TEMP 3
228 | ECON I/L HDR FW TEMP
229 | FW AT ECON I/L HDR FLO 1
230 | FW AT ECON I/L HDR FLO 2
231 | FW AT ECON I/L HDR FLO 3
232 | FW AT ECON I/L HDR FLO
233 | ECON I/L HDR PRESS
234 | ECON O/L LFT STMING/SUBCOOL PRESS
235 | ECON O/L RHT STMING/SUBCOOL PRESS
236 | ECON O/L STMING/SUBCOOL PRESS
237 | ECON O/L LFT STMING/SUBCOOL TEMP
238 | ECON O/L RHT STMING/SUBCOOL TEMP
239 | ECO OUTLET HEADER OUTLET TEMP
240 | MS LINE A PRESS
241 | MS LINE B PRESS
242 | WW O/L RHT TEMP 1
243 | WW O/L RHT TEMP 2
244 | WW O/L RHT TEMP 3
245 | WW O/L RHT TEMP
246 | WW O/L LFT TEMP 1
247 | WW O/L LFT TEMP 2
248 | WW O/L LFT TEMP 3
249 | WW O/L LFT TEMP
250 | WDC I/L PRESS
251 | WDC VALVE I/L HDR TEMP
252 | WDC A VALVE O/L PRESS
253 | WDC B VALVE O/L PRESS
254 | WTR SEPARATOR I/L LFT TEMP 1
255 | WTR SEPARATOR I/L LFT TEMP 2
256 | WTR SEPARATOR I/L LFT TEMP 2
257 | WTR SEPARATOR I/L RHT TEMP 1
258 | WTR SEPARATOR I/L RHT TEMP 2
259 | WTR SEPARATOR I/L RHT TEMP
260 | WTR SEPARATOR O/L FW TEMP
261 | MS PRESSURE SET
262 | MSP DEVIATION
263 | INJECTION WTR FLOW CV RB
264 | INJECTION WTR FLOW CV FB
265 | BRP WARMING WTR DSCH CV RB
266 | BRP WARMING WTR DSCH CV FB
267 | BLR RECIRC CV RB
268 | BLR RECIRC CV FB
269 | HP BYPS TCV-1 RB
270 | HP BYPS TCV-1 FB
271 | HP BYPS TCV-2 FB
272 | HP BYPS TCV-2 FB
273 | HP BYPS-1 PCV RB
274 | HP BYPS-1 PCV FB
275 | HP BYPS-2 PCV RB
276 | HP BYPS-2 PCV FB
277 | IDF-B BLADE PITCH CD RB
278 | IDF-B BLADE PITCH CD FB
279 | IDF-A BLADE PITCH CD RB
280 | IDF-A BLADE PITCH CD FB
281 | PAF A BLADE PITCH CD RB
282 | PAF A BLADE PITCH CD FB
283 | PAF B BLADE PITCH CD RB
284 | PAF B BLADE PITCH CD FB
285 | WDC A CNTRL VLV RB
286 | WDC A CNTRL VLV FB
287 | WDC B CNTRL VLV RB
288 | WDC B CNTRL VLV FB
289 | BRP SUB COOLING INJ WTR FLO 1
290 | BRP SUB COOLING INJ WTR FLO 2
291 | BRP SUB COOLING INJ WTR FLO
292 | BRP INJECTION WTR TEMP 1
293 | BRP INJECTION WTR TEMP 2
294 | BRP INJECTION WTR TEMP
295 | WTR SEPTR DRN TNK LEVEL 1
296 | WTR SEPTR DRN TNK LEVEL 2
297 | WTR SEPTR DRN TNK LEVEL 3
298 | WTR SEPARATOR DRAIN TANK LEVEL
299 | WSDT INLET PRESSURE 1
300 | WSDT INLET PRESSURE 2
301 | WSDT INLET PRESSURE 3
302 | WS DRN TNK I/L PRESS
303 | 1RY SH-A DESHTR MAIN SPRAY CV RB
304 | 1RY SH-A DESHTR MAIN SPRAY CV FB
305 | 1RY SH-A DESHTR BYPASS SPRAY CV RB
306 | 1RY SH-A DESHTR BYPASS SPRAY CV FB
307 | 1RY SH-B DESHTR MAIN SPRAY CV RB
308 | 1RY SH-B DESHTR MAIN SPRAY CV FB
309 | 1RY SH-B DESHTR BYPASS SPRAY CV RB
310 | 1RY SH-B DESHTR BYPASS SPRAY CV FB
311 | 2RY SH-A DESHTR MAIN SPRAY CV RB
312 | 2RY SH-A DESHTR MAIN SPRAY CV FB
313 | 2RY SH-A DESHTR BYPASS SPRAY CV RB
314 | 2RY SH-A DESHTR BYPASS SPRAY CV FB
315 | 2RY SH-B DESHTR MAIN SPRAY CV RB
316 | 2RY SH-B DESHTR MAIN SPRAY CV FB
317 | 2RY SH-B DESHTR BYPASS SPRAY CV RB
318 | 2RY SH-B DESHTR BYPASS SPRAY CV FB
319 | RH-A DESHTR MAIN SPRAY CV RB
320 | RH-A DESHTR MAIN SPRAY CV FB
321 | RH-B DESHTR MAIN SPRAY CV RB
322 | RH-B DESHTR MAIN SPRAY CV FB
323 | 1RY RHTR O/L TEMP 1
324 | 1RY RHTR O/L TEMP 2
325 | 2RY RH-A I/L STM TEMP 1
326 | 2RY RH-A I/L STM TEMP 2
327 | 2RY RH-A I/L STM TEMP
328 | 2RY RH-B I/L STM TEMP 1
329 | 2RY RH-B I/L STM TEMP 2
330 | 2RY RH-B I/L STM TEMP
331 | 2RY RH-A O/L TEMP 1
332 | 2RY RH-A O/L TEMP 2
333 | 2RY RH-A O/L TEMP
334 | 2RY RH-B O/L TEMP 1
335 | 2RY RH-B O/L TEMP 2
336 | 2RY RH-B O/L TEMP
337 | 2RY RH O/L TEMP
338 | 2RY SH A I/L STM TEMP 1
339 | 2RY SH A I/L STM TEMP 2
340 | 2RY SH A I/L STM TEMP
341 | 2RY SH B I/L STM TEMP 1
342 | 2RY SH B I/L STM TEMP 2
343 | 2RY SH B I/L STM TEMP
344 | 2RY SH A O/L TEMP 1
345 | 2RY SH A O/L TEMP 2
346 | 2RY SH A O/L TEMP
347 | 2RY SH B O/L TEMP 1
348 | 2RY SH B O/L TEMP 2
349 | 2RY SH B O/L TEMP
350 | 3RY SH A I/L TEMP 1
351 | 3RY SH A I/L TEMP 2
352 | 3RY SH A I/L TEMP
353 | 3RY SH B I/L TEMP 1
354 | 3RY SH B I/L TEMP 2
355 | 3RY SH B I/L TEMP
356 | FRONT WALL O/L HDR TEMP 1
357 | SIDE WALL O/L HDR TEMP 1
358 | FRONT WALL O/L HDR TEMP 2
359 | SIDE WALL O/L HDR TEMP 2
360 | PASSAGE SIDE WALL O/L HDR TEMP 1
361 | RW HNG O/L HDR TEMP-1
362 | PASSAGE SIDE WALL O/L HDR TEMP 2
363 | RW HNG O/L HDR TEMP-2
364 | 2RY RH-A O/L HDR PRESS
365 | 2RY RH-B O/L HDR PRESS
366 | RH DSH FW FLOW
367 | RH SPRAY WTR PRESS
368 | RH SPRAY WTR TEMP
369 | WTR SEP INL SUPERHEAT TEMP
370 | WS DRN TNK O/L TEMP 1
371 | WS DRN TNK O/L TEMP 2
372 | WS DRN TNK O/L TEMP 3
373 | WS DRN TNK O/L TEMP
374 | BLR RECIRC FLO 1
375 | BLR RECIRC FLO 2
376 | BLR RECIRC FLO
377 | BR LINE FW TEMP 1
378 | BR LINE FW TEMP 2
379 | BR LINE FW TEMP
380 | PULV-A I/L COLD AIR DMPR FB
381 | PULV-A I/L COLD AIR DMPR RB
382 | PULV-A I/L HOT AIR DMPR FB
383 | PULV-A I/L HOT AIR DMPR RB
384 | PULV-B I/L COLD AIR DMPR FB
385 | PULV-B I/L COLD AIR DMPR RB
386 | PULV-B I/L HOT AIR DMPR FB
387 | PULV-B I/L HOT AIR DMPR RB
388 | PULV-C I/L COLD AIR DMPR FB
389 | PULV-C I/L COLD AIR DMPR RB
390 | PULV-C I/L HOT AIR DMPR FB
391 | PULV-C I/L HOT AIR DMPR RB
392 | PULV-D I/L COLD AIR DMPR FB
393 | PULV-D I/L COLD AIR DMPR RB
394 | PULV-D I/L HOT AIR DMPR FB
395 | PULV-D I/L HOT AIR DMPR RB
396 | PULV-E I/L COLD AIR DMPR FB
397 | PULV-E I/L COLD AIR DMPR RB
398 | PULV-E I/L HOT AIR DMPR FB
399 | PULV-E I/L HOT AIR DMPR RB
400 | PULV-F I/L COLD AIR DMPR FB
401 | PULV-F I/L COLD AIR DMPR RB
402 | PULV-F I/L HOT AIR DMPR FB
403 | PULV-F I/L HOT AIR DMPR RB
404 | WB I/L HOT AIR CRNR 1,2 DMPR CD FB
405 | WB I/L HOT AIR CRNR 1,2 DMPR CD RB
406 | WB I/L HOT AIR CRNR 3,4 DMPR CD FB
407 | WB I/L HOT AIR CRNR 3,4 DMPR CD RB
408 | WB I/L HOT AIR CRNR 5,6 DMPR FB
409 | WB I/L HOT AIR CRNR 5,6 DMPR RB
410 | WB I/L HOT AIR CRNR 7,8 DMPR FB
411 | WB I/L HOT AIR CRNR 7,8 DMPR RB
412 | AA (L) CRNR 1 AA DMPR FB
413 | AA (L) CRNR 1 AA DMPR RB
414 | AA (L) CRNR 2 AA DMPR FB
415 | AA (L) CRNR 2 AA DMPR RB
416 | AA (L) CRNR 3 AA DMPR FB
417 | AA (L) CRNR 3 AA DMPR RB
418 | AA (L) CRNR 4 AA DMPR FB
419 | AA (L) CRNR 4 AA DMPR RB
420 | AA (L) CRNR 5 AA DMPR FB
421 | AA (L) CRNR 5 AA DMPR RB
422 | AA (L) CRNR 6 AA DMPR FB
423 | AA (L) CRNR 6 AA DMPR RB
424 | AA (L) CRNR 7 AA DMPR FB
425 | AA (L) CRNR 7 AA DMPR RB
426 | AA (L) CRNR 8 AA DMPR FB
427 | AA (L) CRNR 8 AA DMPR RB
428 | AUX-2 CRNR 1,2,7,8 CNTRL DMPR RB
429 | AUX-2 CRNR 3,4,5,6 CNTRL DMPR RB
430 | AUX-2 CRNR 1 CNTRL DMPR POS
431 | AUX-2 CRNR 2 CNTRL DMPR POS
432 | AUX-2 CRNR 3 CNTRL DMPR POS
433 | AUX-2 CRNR 4 CNTRL DMPR POS
434 | AUX-2 CRNR 5 CNTRL DMPR POS
435 | AUX-2 CRNR 6 CNTRL DMPR POS
436 | AUX-2 CRNR 7 CNTRL DMPR POS
437 | AUX-2 CRNR 8 CNTRL DMPR POS
438 | COAL BNR A CNR 1,3,5,7 CNTRL DMPR RB
439 | COAL BNR A CNR 2,4,8,6 CNTRL DMPR RB
440 | COAL BNR A CRNR 1 CNTRL DMPR POS
441 | COAL BNR A CRNR 2 CNTRL DMPR POS
442 | COAL BNR A CRNR 3 CNTRL DMPR POS
443 | COAL BNR A CRNR 4 CNTRL DMPR POS
444 | COAL BNR A CRNR 5 CNTRL DMPR POS
445 | COAL BNR A CRNR 6 CNTRL DMPR POS
446 | COAL BNR A CRNR 7 CNTRL DMPR POS
447 | COAL BNR A CRNR 8 CNTRL DMPR POS
448 | COAL BNR B CNR 1,3,5,7 CNTRL DMPR RB
449 | COAL BNR B CNR 2,4,8,6 CNTRL DMPR RB
450 | COAL BNR B CRNR 1 CNTRL DMPR POS
451 | COAL BNR B CRNR 2 CNTRL DMPR POS
452 | COAL BNR B CRNR 3 CNTRL DMPR POS
453 | COAL BNR B CRNR 4 CNTRL DMPR POS
454 | COAL BNR B CRNR 5 CNTRL DMPR POS
455 | COAL BNR B CRNR 6 CNTRL DMPR POS
456 | COAL BNR B CRNR 7 CNTRL DMPR POS
457 | COAL BNR B CRNR 8 CNTRL DMPR POS
458 | COAL BNR C CNR 1,3,5,7 CNTRL DMPR RB
459 | COAL BNR C CNR 2,4,8,6 CNTRL DMPR RB
460 | COAL BNR C CRNR 1 CNTRL DMPR POS
461 | COAL BNR C CRNR 2 CNTRL DMPR POS
462 | COAL BNR C CRNR 3 CNTRL DMPR POS
463 | COAL BNR C CRNR 4 CNTRL DMPR POS
464 | COAL BNR C CRNR 5 CNTRL DMPR POS
465 | COAL BNR C CRNR 6 CNTRL DMPR POS
466 | COAL BNR C CRNR 7 CNTRL DMPR POS
467 | COAL BNR C CRNR 8 CNTRL DMPR POS
468 | COAL BNR D CNR 1,3,5,7 CNTRL DMPR RB
469 | COAL BNR D CNR 2,4,8,6 CNTRL DMPR RB
470 | COAL BNR D CRNR 1 CNTRL DMPR POS
471 | COAL BNR D CRNR 2 CNTRL DMPR POS
472 | COAL BNR D CRNR 3 CNTRL DMPR POS
473 | COAL BNR D CRNR 4 CNTRL DMPR POS
474 | COAL BNR D CRNR 5 CNTRL DMPR POS
475 | COAL BNR D CRNR 6 CNTRL DMPR POS
476 | COAL BNR D CRNR 7 CNTRL DMPR POS
477 | COAL BNR D CRNR 8 CNTRL DMPR POS
478 | COAL BNR E CNR 1,3,5,7 CNTRL DMPR RB
479 | COAL BNR E CNR 2,4,8,6 CNTRL DMPR RB
480 | COAL BNR E CRNR 1 CNTRL DMPR POS
481 | COAL BNR E CRNR 2 CNTRL DMPR POS
482 | COAL BNR E CRNR 3 CNTRL DMPR POS
483 | COAL BNR E CRNR 4 CNTRL DMPR POS
484 | COAL BNR E CRNR 5 CNTRL DMPR POS
485 | COAL BNR E CRNR 6 CNTRL DMPR POS
486 | COAL BNR E CRNR 7 CNTRL DMPR POS
487 | COAL BNR E CRNR 8 CNTRL DMPR POS
488 | COAL BNR F CNR 1,3,5,7 CNTRL DMPR RB
489 | COAL BNR F CNR 2,4,8,6 CNTRL DMPR RB
490 | COAL BNR F CRNR 1 CNTRL DMPR POS
491 | COAL BNR F CRNR 2 CNTRL DMPR POS
492 | COAL BNR F CRNR 3 CNTRL DMPR POS
493 | COAL BNR F CRNR 4 CNTRL DMPR POS
494 | COAL BNR F CRNR 5 CNTRL DMPR POS
495 | COAL BNR F CRNR 6 CNTRL DMPR POS
496 | COAL BNR F CRNR 7 CNTRL DMPR POS
497 | COAL BNR F CRNR 8 CNTRL DMPR POS
498 | HFO/LDO BNR AB CRNR 1 CNTRL DMPR RB
499 | HFO/LDO BNR AB CRNR 1 DMPR POS
500 | HFO/LDO BNR AB CRNR 2 CNTRL DMPR RB
501 | HFO/LDO BNR AB CRNR 2 CNTRL DMPR POS
502 | HFO/LDO BNR AB CRNR 3 CNTRL DMPR RB
503 | HFO/LDO BNR AB CRNR 3 DMPR POS
504 | HFO/LDO BNR AB CRNR 4 CNTRL DMPR RB
505 | HFO/LDO BNR AB CRNR 4 CNTRL DMPR POS
506 | HFO/LDO BNR AB CRNR 5 CNTRL DMPR RB
507 | HFO/LDO BNR AB CRNR 5 CNTRL DMPR POS
508 | HFO/LDO BNR AB CRNR 6 CNTRL DMPR RB
509 | HFO/LDO BNR AB CRNR 6 CNTRL DMPR POS
510 | HFO/LDO BNR AB CRNR 7 CNTRL DMPR RB
511 | HFO/LDO BNR AB CRNR 7 CNTRL DMPR POS
512 | HFO/LDO BNR AB CRNR 8 CNTRL DMPR RB
513 | HFO/LDO BNR AB CRNR 8 CNTRL DMPR POS
514 | HFO BNR CD CRNR 1 CNTRL DMPR RB
515 | HFO BNR CD CRNR 1 CNTRL DMPR POS
516 | HFO BNR CD CRNR 2 CNTRL DMPR RB
517 | HFO BNR CD CRNR 2 CNTRL DMPR POS
518 | HFO BNR CD CRNR 3 CNTRL DMPR RB
519 | HFO BNR CD CRNR 3 DMPR POS
520 | HFO BNR CD CRNR 4 CNTRL DMPR RB
521 | HFO BNR CD CRNR 4 CNTRL DMPR POS
522 | HFO BNR CD CRNR 5 CNTRL DMPR RB
523 | HFO BNR CD CRNR 5 CNTRL DMPR POS
524 | HFO BNR CD CRNR 6 CNTRL DMPR RB
525 | HFO BNR CD CRNR 6 CNTRL DMPR POS
526 | HFO BNR CD CRNR 7 CNTRL DMPR RB
527 | HFO BNR CD CRNR 7 CNTRL DMPR POS
528 | HFO BNR CD CRNR 8 CNTRL DMPR RB
529 | HFO BNR CD CRNR 8 CNTRL DMPR POS
530 | HFO BNR EF CRNR 1CNTRL DMPR RB
531 | HFO BNR EF CRNR 1CNTRL DMPR POS
532 | HFO BNR EF CRNR 2 CNTRL DMPR RB
533 | HFO BNR EF CRNR 2 CNTRL DMPR POS
534 | HFO BNR EF CRNR 3 CNTRL DMPR RB
535 | HFO BNR EF CRNR 3 DMPR POS
536 | HFO BNR EF CRNR 4 CNTRL DMPR RB
537 | HFO BNR EF CRNR 4 CNTRL DMPR POS
538 | HFO BNR EF CRNR 5 CNTRL DMPR RB
539 | HFO BNR EF CRNR 5 CNTRL DMPR POS
540 | HFO BNR EF CRNR 6 CNTRL DMPR RB
541 | HFO BNR EF CRNR 6 CNTRL DMPR POS
542 | HFO BNR EF CRNR 7 CNTRL DMPR RB
543 | HFO BNR EF CRNR 7 CNTRL DMPR POS
544 | HFO BNR EF CRNR 8 CNTRL DMPR RB
545 | HFO BNR EF CRNR 8 CNTRL DMPR POS
546 | 1CORNER BURNER TILTING DRIVE RB(deg)
547 | 1CORNER BURNER TILTING DRIVE FB(deg)
548 | 2CORNER BURNER TILTING DRIVE RB(deg)
549 | 2CORNER BURNER TILTING DRIVE FB(deg)
550 | 3CORNER BURNER TILTING DRIVE RB(deg)
551 | 3CORNER BURNER TILTING DRIVE FB(deg)
552 | 4CORNER BURNER TILTING DRIVE RB(deg)
553 | 4CORNER BURNER TILTING DRIVE FB(deg)
554 | 5CORNER BURNER TILTING DRIVE RB(deg)
555 | 5CORNER BURNER TILTING DRIVE FB(deg)
556 | 6CORNER BURNER TILTING DRIVE RB(deg)
557 | 6CORNER BURNER TILTING DRIVE FB(deg)
558 | 7CORNER BURNER TILTING DRIVE RB(deg)
559 | 7CORNER BURNER TILTING DRIVE FB(deg)
560 | 8CORNER BURNER TILTING DRIVE RB(deg)
561 | 8CORNER BURNER TILTING DRIVE FB(deg)
562 | AA DMPR RIGHT BIAS
563 | AA DAMPER (LEFT) BIAS
564 | FDF A ANNULAR PIPE AT I/L BOX AND I/L CONE FLO 1
565 | FDF A ANNULAR PIPE AT I/L BOX AND I/L CONE FLO 2
566 | FDF A ANNULAR PIPE AT I/L BOX AND I/L CONE FLO 3
567 | FDF A ANNULAR PIPE AT INLET BOX AND INLET CONE FLO
568 | FDF A I/L BOX TEMP 1
569 | FDF A I/L BOX TEMP 2
570 | FDF A I/L BOX TEMP 3
571 | FDF A I/L BOX TEMP
572 | FDF B ANNULAR PIPE AT I/L BOX AND I/L CONE FLO-1
573 | FDF B ANNULAR PIPE AT I/L BOX AND I/L CONE FLO-2
574 | FDF B ANNULAR PIPE AT I/L BOX AND I/L CONE FLO-3
575 | FDF B ANNULAR PIPE AT I/L BOX AND I/L CONE FLO
576 | FDF B I/L BOX TEMP 1
577 | FDF B I/L BOX TEMP 2
578 | FDF B I/L BOX TEMP 3
579 | FDF B I/L BOX TEMP
580 | FDF A ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP-1
581 | FDF A ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP-2
582 | FDF A ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP-3
583 | FDF A ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP
584 | FDF B ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP 1
585 | FDF B ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP 2
586 | FDF B ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP 3
587 | FDF B ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP
588 | FDF A ANNULAR PIPE AT I/L BOX PR 1
589 | FDF A ANNULAR PIPE AT I/L BOX PR 2
590 | FDF A ANNULAR PIPE AT I/L BOX PR 3
591 | FDF A ANNULAR PIPE AT I/L BOX PR
592 | FDF B ANNULAR PIPE AT I/L BOX PRESS-1
593 | FDF B ANNULAR PIPE AT I/L BOX PRESS-2
594 | FDF B ANNULAR PIPE AT I/L BOX PRESS-3
595 | FDF B ANNULAR PIPE AT I/L BOX PRESS
596 | IDF A ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP 1
597 | IDF A ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP 2
598 | IDF A ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP 3
599 | IDF A ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP
600 | IDF B ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP 1
601 | IDF B ANNULAR PIPE AT I/L BOX and DIFFUSER O/L DP 2
602 | IDF B ANNULAR PIPE AT I/L BOX and DIFFUSER O/L DP 3
603 | IDF B ANNULAR PIPE AT I/L BOX and DIFFUSER O/L DP
604 | IDF A ANNULAR PIPE AT I/L BOX AND I/L CONE FLO 1
605 | IDF A ANNULAR PIPE AT I/L BOX AND I/L CONE FLO 2
606 | IDF A ANNULAR PIPE AT I/L BOX AND I/L CONE FLO 3
607 | IDF A ANNULAR PIPE AT I/L BOX AND I/L CONE FLO
608 | IDF B ANNULAR PIPE AT I/L BOX AND I/L CONE FLO 1
609 | IDF B ANNULAR PIPE AT I/L BOX AND I/L CONE FLO 2
610 | IDF B ANNULAR PIPE AT I/L BOX AND I/L CONE FLO 3
611 | IDF B ANNULAR PIPE AT I/L BOX AND I/L CONE FLO
612 | IDF A ANNULAR PIPE AT I/L BOX PRESS 1
613 | IDF A ANNULAR PIPE AT I/L BOX PRESS 2
614 | IDF A ANNULAR PIPE AT I/L BOX PRESS 3
615 | IDF A ANNULAR PIPE AT I/L BOX PRESS
616 | IDF B ANNULAR PIPE AT I/L BOX PRESS 1
617 | IDF B ANNULAR PIPE AT I/L BOX PRESS 2
618 | IDF B ANNULAR PIPE AT I/L BOX PRESS 3
619 | IDF B ANNULAR PIPE AT I/L BOX PRESS
620 | IDF A I/L BOX TEMP 1
621 | IDF A I/L BOX TEMP 2
622 | IDF A I/L BOX TEMP 3
623 | IDF A I/L BOX TEMP
624 | IDF B I/L BOX TEMP 1
625 | IDF B I/L BOX TEMP 2
626 | IDF B I/L BOX TEMP 3
627 | IDF B I/L BOX TEMP
628 | PAF A ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP 1
629 | PAF A ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP 2
630 | PAF A ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP 3
631 | PAF A ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP
632 | PAF B ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP 1
633 | PAF B ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP 2
634 | PAF B ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP 3
635 | PAF B ANNULAR PIPE AT I/L BOX AND DIFFUSER O/L DP
636 | PAF A ANNULAR PIPE AT I/L BOX AND I/L CONE FLO 1
637 | PAF A ANNULAR PIPE AT I/L BOX AND I/L CONE FLO 2
638 | PAF A ANNULAR PIPE AT I/L BOX AND I/L CONE FLO 3
639 | PAF A ANNULAR PIPE AT I/L BOX AND I/L CONE FLO
640 | PAF B ANNULAR PIPE AT I/L BOX and I/L CONE FLOW 1
641 | PAF B ANNULAR PIPE AT I/L BOX and I/L CONE FLOW 2
642 | PAF B ANNULAR PIPE AT I/L BOX and I/L CONE FLOW 3
643 | PAF B ANNULAR PIPE AT I/L BOX and I/L CONE FLOW
644 | PAF A ANNULAR PIPE AT I/L BOX PRESSURE 1
645 | PAF A ANNULAR PIPE AT I/L BOX PRESSURE 2
646 | PAF A ANNULAR PIPE AT I/L BOX PRESSURE 3
647 | PAF A ANNULAR PIPE AT I/L BOX PRESSURE
648 | PAF B ANNULAR PIPE AT I/L BOX PRESS 1
649 | PAF B ANNULAR PIPE AT I/L BOX PRESS 2
650 | PAF B ANNULAR PIPE AT I/L BOX PRESS 3
651 | PAF B ANNULAR PIPE AT I/L BOX PRESS
652 | PAF A I/L BOX TEMP 1
653 | PAF A I/L BOX TEMP 2
654 | PAF A I/L BOX TEMP 3
655 | PAF A I/L BOX TEMP
656 | PAF B I/L BOX TEMP 1
657 | PAF B I/L BOX TEMP 2
658 | PAF B I/L BOX TEMP 3
659 | PAF B I/L BOX TEMP
660 | MILL SEAL AIR FAN I/L PRESS
661 | MILL SEAL AIR FAN O/L PRESS
662 | MILL SEAL AIR FAN A SUCTION DP 1
663 | MILL SEAL AIR FAN A SUCTION DP 2
664 | MILL SEAL AIR FAN A SUC FLTR DP
665 | MILL SEAL AIR FAN B SUCTION DP 1
666 | MILL SEAL AIR FAN B SUCTION DP 2
667 | MILL SEAL AIR FAN B SUC FLTR DP
668 | HP TURBINE EXHAUST PRESS
669 | HP TURBINE EXHAUST TEMP
670 | MS LINE TEMP
671 | MS LINE A TEMP 1
672 | MS LINE A TEMP 2
673 | MS LINE A TEMP 3
674 | MS LINE A TEMP
675 | MS LINE B TEMP 1
676 | MS LINE B TEMP 2
677 | MS LINE B TEMP 3
678 | MS LINE B TEMP
679 | FDF A BLADE ANGLE CD RB
680 | FDF A BLADE ANGLE CD FB
681 | FDF B BLADE ANGLE CD RB
682 | FDF B BLADE ANGLE CD FB
683 | AH B O/L HOT SEC AIR PRESS
684 | AH A O/L HOT SEC AIR PRESS
685 | HOT 2RY AIR TEMP 1 AT AH-A O/L
686 | HOT 2RY AIR TEMP 2 AT AH-A O/L
687 | HOT 2RY AIR TEMP 3 AT AH-A O/L
688 | HOT 2RY AIR TEMP AT AH-A O/L
689 | HOT 2RY AIR TEMP 1 AT AH-B O/L
690 | HOT 2RY AIR TEMP 2 AT AH-B O/L
691 | HOT 2RY AIR TEMP 3 AT AH-B O/L
692 | HOT 2RY AIR TEMP AT AH-B O/L
693 | AIR HTR B FLUE GAS I/L TEMP 1
694 | AIR HTR B FLUE GAS I/L TEMP 2
695 | AIR HTR B FLUE GAS I/L TEMP 3
696 | AIR HTR A FLUE GAS I/L TEMP
697 | AIR HTR A FLUE GAS I/L TEMP 1
698 | AIR HTR A FLUE GAS I/L TEMP 2
699 | AIR HTR A FLUE GAS I/LTEMP 3
700 | AIR HTR B FLUE GAS I/L TEMP
701 | COLD 1RY AIR TEMP AT AH-B I/L
702 | COLD 1RY AIR TEMP AT AH-A I/L
703 | AH-B INLET COLD 1RY AIR PRESS
704 | AH-A INLET COLD PRIMARY AIR PRESSURE
705 | AH B FLUE GAS I/L PRESS
706 | AH A O/L FLUE GAS PRESS
707 | AH B O/L FLUE GAS PRESS
708 | AH A FLUE GAS I/L PRESS
709 | AH-B OUTLET HOT PRIMARY AIR PRESSURE
710 | AH-A OUTLET HOT PRIMARY AIR PRESSURE
711 | AH-B O/L FLUE GAS PATH O2
712 | AH-A O/L FLUE GAS PATH O2
713 | HOT 1RY AIR TEMP AT AH-B O/L
714 | HOT 1RY AIR TEMP AT AH-A O/L
715 | AH B O/L FLUE GAS PRESS
716 | AH A O/L FLUE GAS PRESS
717 | FD FAN B O/L TEMP
718 | FD FAN A O/L TEMP
719 | AH-A I/L FLUE GAS PATH O2-1
720 | AH-A I/L FLUE GAS PATH O2-2
721 | AH-A I/L FLUE GAS PATH O2-3
722 | AH-A I/L FLUE GAS PATH O2
723 | AH-B I/L FLUE GAS PATH O2-1
724 | AH-B I/L FLUE GAS PATH O2-2
725 | AH-B I/L FLUE GAS PATH O2-3
726 | AH-B I/L FLUE GAS PATH O2
727 | FD FAN B O/L PRESS
728 | FD FAN A O/L PRESS
729 | FURNACE DRAFT PRESS-1
730 | FURNACE DRAFT PRESS-2
731 | FURNACE DRAFT PRESS-3
732 | FURNACE DRAFT PRESS
733 | 1RY AIR DRAFT CNTRL PRESS 1
734 | 1RY AIR DRAFT CNTRL PRESS 2
735 | 1RY AIR DRAFT CNTRL PRESS
736 | FURN DRAFT I/L TEMP ID FAN B
737 | FURN DRAFT I/L TEMP ID FAN A
738 | FURN DRAFT O/L TEMP ID FAN B
739 | FURN DRAFT O/L TEMP ID FAN A
740 | ID FAN B O/L PRESS
741 | ID FAN A O/L PRESS
742 | PAF B OUTLET PRESS
743 | PAF A OUTLET PRESS
744 | FDF A AIR FLOW (t/h)
745 | FDF B AIR FLOW (t/h)
746 | TOTAL AIR FLOW(t/h)
747 | TOTAL AIR FLOW (%BMCR)
748 | FURNACE DRAFT PRESS
749 | WB INLET HOT SECONDARY AIR PRESS 1
750 | WB INLET HOT SECONDARY AIR PRESS 3
751 | WB INLET HOT SECONDARY AIR PRESS 2
752 | WB INLET HOT SECONDARY AIR PRESS 4
753 | RH ECO O/L FLUE GAS DMPR A1 RB
754 | RH ECO O/L FLUE GAS DMPR A1 FB
755 | RH ECO O/L FLUE GAS DMPR A2 RB
756 | RH ECO O/L FLUE GAS DMPR A2 FB
757 | RH ECO O/L FLUE GAS DMPR A3 RB
758 | RH ECO O/L FLUE GAS DMPR A3 FB
759 | RH ECO O/L FLUE GAS DMPR A4 RB
760 | RH ECO O/L FLUE GAS DMPR A4 FB
761 | SH ECO O/L FLUE GAS DMPR A1 RB
762 | SH ECO O/L FLUE GAS DMPR A1 FB
763 | SH ECO O/L FLUE GAS DMPR A2 RB
764 | SH ECO O/L FLUE GAS DMPR A2 FB
765 | SH ECO O/L FLUE GAS DMPR A3 RB
766 | SH ECO O/L FLUE GAS DMPR A3 FB
767 | GAS DISTRIBUTION DAMPER (SH PASS)-A(D) RB
768 | GAS DISTRIBUTION DAMPER (SH PASS)-A(D) FB
769 | SH ECO O/L FLUE GAS DMPR B1 RB
770 | SH ECO O/L FLUE GAS DMPR B1 FB
771 | SH ECO O/L FLUE GAS DMPR B2 RB
772 | SH ECO O/L FLUE GAS DMPR B2 FB
773 | SH ECO O/L FLUE GAS DMPR B3 RB
774 | SH ECO O/L FLUE GAS DMPR B3 FB
775 | SH ECO O/L FLUE GAS DMPR B4 RB
776 | SH ECO O/L FLUE GAS DMPR B4 FB
777 | RH ECO O/L FLUE GAS DMPR B1 RB
778 | RH ECO O/L FLUE GAS DMPR B1 FB
779 | RH ECO O/L FLUE GAS DMPR B2 RB
780 | RH ECO O/L FLUE GAS DMPR B2 FB
781 | RH ECO O/L FLUE GAS DMPR B3 RB
782 | RH ECO O/L FLUE GAS DMPR B3 FB
783 | RH ECO O/L FLUE GAS DMPR B4 RB
784 | RH ECO O/L FLUE GAS DMPR B4 FB
785 | COLD 2RY AIR TEMP 1 AT AH-B I/L
786 | COLD 2RY AIR TEMP 2 AT AH-B I/L
787 | COLD 2RY AIR TEMP AT AH-A I/L
788 | COLD 2RY AIR TEMP 1 AT AH-A I/L
789 | COLD 2RY AIR TEMP 2 AT AH-A I/L
790 | COLD 2RY AIR TEMP AT AH-B I/L
791 | AIR HTR B FLUE GAS O/L TEMP 1
792 | AIR HTR B FLUE GAS O/L TEMP 2
793 | AIR HTR B FLUE GAS O/L TEMP 3
794 | AIR HTR B FLUE GAS O/L TEMP
795 | AIR HTR A FLUE GAS O/L TEMP 1
796 | AIR HTR A FLUE GAS O/L TEMP 2
797 | AIR HTR A FLUE GAS O/L TEMP 3
798 | AIR HTR A FLUE GAS O/L TEMP
799 | PULV A I/L TEMP 1
800 | PULV A I/L TEMP 2
801 | PULV A I/L TEMP 3
802 | PULV A I/L TEMP
803 | PULV A O/L TEMP 1
804 | PULV A O/L TEMP 2
805 | PULV A O/L TEMP
806 | PULV B I/L TEMP 1
807 | PULV B I/L TEMP 2
808 | PULV B I/L TEMP 3
809 | PULV B I/L TEMP
810 | PULV B O/L TEMP 1
811 | PULV B O/L TEMP 2
812 | PULV B O/L TEMP
813 | PULV C I/L TEMP 1
814 | PULV C I/L TEMP 2
815 | PULV C I/L TEMP 3
816 | PULV C I/L TEMP
817 | PULV C O/L TEMP 1
818 | PULV C O/L TEMP 2
819 | PULV C O/L TEMP
820 | PULV D I/L TEMP 1
821 | PULV D I/L TEMP 2
822 | PULV D I/L TEMP 3
823 | PULV D I/L TEMP
824 | PULV D O/L TEMP 1
825 | PULV D O/L TEMP 2
826 | PULV D O/L TEMP
827 | PULV E I/L TEMP 1
828 | PULV E I/L TEMP 2
829 | PULV E I/L TEMP 3
830 | PULV E I/L TEMP
831 | PULV E O/L TEMP 1
832 | PULV E O/L TEMP 2
833 | PULV E O/L TEMP
834 | PULV F I/L TEMP 1
835 | PULV F I/L TEMP 2
836 | PULV F I/L TEMP 3
837 | PULV F I/L TEMP
838 | PULV F O/L TEMP 1
839 | PULV F O/L TEMP 2
840 | PULV F O/L TEMP
841 | FLUE GAS FLO
842 | FLUE GAS PR
843 | FLUE GAS NOX
844 | FLUE GAS SO2
845 | FLUE GAS CO
846 | FLUE GAS O2
847 | FLUE GAS OPACITY
848 | PAF A MTR - CURR FEEDBACK
849 | FDF A MTR - CURR
850 | IDF A MTR - CURR
851 | PAF B MTR - CURR FEEDBACK
852 | FDF B MTR - CURR
853 | IDF B MTR - CURR
854 | FLUE GAS TEMP
855 | FURN EXT GAS TEMP 1
856 | FURN EXT GAS TEMP 2
857 | AH B I/L COLD SEC AIR PRESS
858 | AH A I/L COLD SEC AIR PRESS
859 | WIND BOX and FURNACE DP 1
860 | WIND BOX and FURNACE DP 2
861 | WIND BOX AND FURNACE DP
862 | HEAVY FUEL OIL RETURN MV POSITION
863 | HEAVY FUEL OIL ON-OFF VALVE INLET PRESS.
864 | HEAVY FUEL OIL BURNER HEADER PRESS.
865 | LIGHT DIESEL OIL ON-OFF VALVE INLET PRESS.
866 | LIGHT DIESEL OIL BURNER HEADER PRESS.
867 | HEAVY FUEL OIL SUPPLY TEMP
868 | HEAVY FUEL OIL BURNER HEADER TEMP
869 | HFO RETURN TEMP
870 | PULV A FURNACE DIFF PRESS
871 | PULVERIZER A LOWER HOUSE PRESS.
872 | PULVERIZER A - SEAL AIR D. PRESS.
873 | PULVERIZER A LOWER-UPPER HOUSE D. PRESS.
874 | PULVERIZER A INLET AIR PRESS
875 | COAL PULVERIZER A MOTOR CURRENT
876 | PULV B FURNACE DIFF PRESS
877 | PULVERIZER B LOWER HOUSE PRESS.
878 | PULVERIZER B - SEAL AIR D. PRESS.
879 | PULVERIZER B LOWER-UPPER HOUSE D. PRESS.
880 | PULVERIZER B INLET AIR PRESS
881 | COAL PULVERIZER B MOTOR CURRENT
882 | PULV C FURNACE DIFF PRESS
883 | PULVERIZER C LOWER HOUSE PRESS.
884 | PULVERIZER C - SEAL AIR D. PRESS.
885 | PULVERIZER C LOWER-UPPER HOUSE D. PRESS.
886 | PULVERIZER C INLET AIR PRESS
887 | COAL PULVERIZER C MOTOR CURRENT
888 | PULV D FURNACE DIFF PRESS
889 | PULVERIZER D LOWER HOUSE PRESS.
890 | PULVERIZER D - SEAL AIR D. PRESS.
891 | PULVERIZER D LOWER-UPPER HOUSE D. PRESS.
892 | PULVERIZER D INLET AIR PRESS
893 | COAL PULVERIZER D MOTOR CURRENT
894 | PULV E FURNACE DIFF PRESS
895 | PULVERIZER E LOWER HOUSE PRESS.
896 | PULVERIZER E SEAL AIR D. PRESS.
897 | PULVERIZER E LOWER-UPPER HOUSE D. PRESS.
898 | PULVERIZER E INLET AIR PRESS
899 | COAL PULVERIZER E MOTOR CURRENT
900 | PULV F FURNACE DIFF PRESS
901 | PULVERIZER F LOWER HOUSE PRESS.
902 | PULVERIZER F - SEAL AIR D. PRESS.
903 | PULVERIZER F LOWER-UPPER HOUSE D. PRESS.
904 | PULVERIZER F INLET AIR PRESS
905 | COAL PULVERIZER F MOTOR CURRENT
906 | HP FW HTRS O/L PRESS
907 | HP HTR O/L FW TEMP
908 | AA PORT TILT NOZ CRNR 1 DRV RB(deg)
909 | AA PORT TILT NOZ CRNR 1-I/P FB
910 | AA PORT TILT NOZ CRNR 2 DRV RB(deg)
911 | AA PORT TILT NOZ CRNR 2-I/P FB
912 | AA PORT TILT NOZ CRNR 3 DRV RB(deg)
913 | AA PORT TILT NOZ CRNR 3-I/P FB
914 | AA PORT TILT NOZ CRNR 4 DRV RB(deg)
915 | AA PORT TILT NOZ CRNR 4-I/P FB
916 | AA PORT TILT NOZ CRNR 5 DRV RB(deg)
917 | AA PORT TILT NOZ CRNR 5-I/P FB
918 | AA PORT TILT NOZ CRNR 6 DRV RB(deg)
919 | AA PORT TILT NOZ CRNR 6-I/P FB
920 | AA PORT TILT NOZ CRNR 7 DRV RB(deg)
921 | AA PORT TILT NOZ CRNR 7-I/P
922 | AA PORT TILT NOZ CRNR 8 DRV RB(deg)
923 | AA PORT TILT NOZ CRNR 8-I/P FB
924 | BNR ATOMIZING AIR PRESS CV RB
925 | BNR ATOMIZING AIR PRESS CV FB
926 | COAL FEEDER-A SPEED CONTROL FB
927 | COAL FEEDER-A SPEED CONTROL RB
928 | COAL FEEDER-B SPEED CONTROL FB
929 | COAL FEEDER-B SPEED CONTROL RB
930 | COAL FEEDER-C SPEED CONTROL FB
931 | COAL FEEDER-C SPEED CONTROL RB
932 | COAL FEEDER-D SPEED CONTROL FB
933 | COAL FEEDER-D SPEED CONTROL RB
934 | COAL FEEDER-E SPEED CONTROL FB
935 | COAL FEEDER-E SPEED CONTROL RB
936 | COAL FEEDER-F SPEED CONTROL FB
937 | COAL FEEDER-F SPEED CONTROL RB
938 | HEAVY OIL FLOW CV RB
939 | HEAVY OIL FLOW CV FB
940 | HEAVY FUEL OIL FLOW (kl/h)
941 | LIGHT DIESEL OIL FLOW (kl/h)
942 | PULVERIZER LOAD (%)
943 | COAL FEEDER A TOTALIZER
944 | COAL FEEDER B TOTALIZER
945 | COAL FEEDER C TOTALIZER
946 | COAL FEEDER D TOTALIZER
947 | COAL FEEDER E TOTALIZER
948 | COAL FEEDER F TOTALIZER
949 | BNR ATOMIZING AIR PRESS 1
950 | BNR ATOMIZING AIR PRESS 2
951 | BNR ATOMIZING AIR PRESS
952 | A COAL FLOW
953 | B COAL FLOW
954 | C COAL FLOW
955 | D COAL FLOW
956 | E COAL FLOW
957 | F COAL FLOW
958 | HFO SPLY FLO 1
959 | HFO SPLY FLO 2
960 | HFO SPLY FLO 3
961 | HFO SPLY FLO
962 | HFO SPLY FLO (S-R)
963 | HFO SPLY PRESS 1
964 | HFO SPLY PRESS 2
965 | HFO SPLY PRESS
966 | HFO RETURN FLO 1
967 | HFO RETURN FLO 2
968 | HFO RETURN FLO 3
969 | HFO RETURN FLO
970 | MILL A I/L FLO 1
971 | MILL A I/L FLO 2
972 | MILL A I/L FLO 3
973 | MILL A I/L FLO
974 | MILL B I/L FLO 1
975 | MILL B I/L FLO 2
976 | MILL B I/L FLO 3
977 | MILL B I/L FLO
978 | MILL C I/L FLO 1
979 | MILL C I/L FLO 2
980 | MILL C I/L FLO 3
981 | MILL C I/L FLO
982 | MILL D I/L FLO 1
983 | MILL D I/L FLO 2
984 | MILL D I/L FLO 3
985 | MILL D I/L FLO
986 | MILL E I/L FLO 1
987 | MILL E I/L FLO 2
988 | MILL E I/L FLO 3
989 | MILL E I/L FLO
990 | MILL F I/L FLO 1
991 | MILL F I/L FLO 2
992 | MILL F I/L FLO 3
993 | MILL F I/L FLO
994 | TOTAL FUEL FLOW
995 | TOTAL COAL FLOW
996 | BURNER ATOMIZING STEAM PRESS. CV RB
997 | BURNER ATOMIZING STEAM PRESS. CV FB
998 | PULVERISE ROTARY SEPARATOR-A RB
999 | PULVERISER ROTARY SEPARATOR-A FB
1000 | PULVERISE ROTARY SEPARATOR B RB
1001 | PULVERISER ROTARY SEPARATOR B FB
1002 | PULVERISE ROTARY SEPARATOR C RB
1003 | PULVERIZER ROTARY SEPARATOR C FB
1004 | PULVERISE ROTARY SEPARATOR D RB
1005 | PULVERISER ROTARY SEPARATOR D FB
1006 | PULVERISE ROTARY SEPARATOR E RB
1007 | PULVERISER ROTARY SEPARATOR E FB
1008 | PULVERISE ROTARY SEPARATOR F RB
1009 | PULVERISER ROTARY SEPARATOR F FB
1010 | BRNR ATOMIZING STM PRESS 1
1011 | BRNR ATOMIZING STM PRESS 2
1012 | BURNER ATOMIZING STEAM PRESS
1013 | MRS A SPEED
1014 | MRS A MTR CURR
1015 | MRS A MTR KW
1016 | MRS B SPEED
1017 | MRS B MTR CURR
1018 | MRS B MTR KW
1019 | MRS C SPEED
1020 | MRS C MTR CURR
1021 | MRS C MTR KW
1022 | MRS D SPEED
1023 | MRS D MTR CURR
1024 | MRS D MTR KW
1025 | MRS E SPEED
1026 | MRS E MTR CURR
1027 | MRS E MTR KW
1028 | MRS F SPEED
1029 | MRS F MTR CURR
1030 | MRS F MTR KW
1031 | HFO RETURN HDR TEMP
1032 | BRNR ATOMIZING STM TEMP
1033 | HP OIL PRESS
1034 | LDO SPLY FLO 1
1035 | LDO SPLY FLO 2
1036 | LDO SPLY FLO 3
1037 | LDO SPLY FLO
1038 | LDO SPLY PRESS 2
1039 | LDO SPLY PRESS 3
1040 | LDO SPLY PRESS
1041 | BOILER INPUT DEMAND
1042 | NET MW
1043 | GENERATOR MW-1
1044 | GENERATOR MW-2
1045 | GENERATOR MW-3
1046 | GENERATOR MW
1047 | MW DEMAND
1048 | LOAD SET
1049 | LOAD UPPER LIMIT
1050 | LOAD LOWER LIMIT
1051 | LOAD RATE
1052 | WTR FUEL RATIO
1053 | ECO OUTLET GAS O2 SET
1054 | 1RY SH I/L DRN REGU MOV (LFT) POS
1055 | 1RY SH I/L DRN REGU MOV (RHT) POS
1056 | 3RY SH A O/L HDR DRN MOV (LFT) POS
1057 | 3RY SH A O/L HDR DRN MOV (RHT) POS
1058 | ECO OUTLET GAS O2 (LOW SELECT)
1059 | BOILER LOAD (%ECR)
1060 | 2RY PASS BYPS MOV (BLR LFT) POS
1061 | 2RY PASS BYPS MOV (BLR RHT) POS
1062 | FRONT WALL DIFFERENTIAL TEMP
1063 | REAR WALL DIFFERENTIAL TEMP
1064 | RIGHT WALL DIFFERENTIAL TEMP
1065 | LEFT WALL DIFFERENTIAL TEMP
1066 | CRH HDR PR
1067 | CRH HDR PR-1
1068 | CRH HDR PR-2
1069 | BFP-A DSCH TEMP
1070 | BFP-B DSCH TEMP
1071 | MDBFP DSCH TEMP
1072 | HP TURB EXH-1 PR
1073 | HP TURB EXH-2 PR
1074 | HTR-8 HP EXT INCH MOV POS
1075 | HTR-7 CRH EXT INCH MOV POS
1076 | HTR-6 IP EXT INCH MOV POS
1077 | HTR-4 LP EXT INCH MOV POS
1078 | HTR-3 LP EXT INCH MOV POS
1079 | DA IP EXT INCH MOV POS
1080 | HTR-4 INLT STM PR
1081 | HTR-3 INLT STM PR
1082 | HTR-6 INLT STM PR
1083 | HTR-7 INLT STM PR
1084 | HTR-8 INLT STM PR
1085 | DA PR
1086 | DA PR-1
1087 | DA PR-2
1088 | DA PR-3
1089 | DA PEG STM PCV FB
1090 | DA PEG STM PCV-2 FB
1091 | PULVERIZER A - SEAL AIR D. PRESS.
1092 | PULV A FURNACE DIFF PRESS
1093 | PULVERIZER A LOWER-UPPER HOUSE D. PRESS.
1094 | PULVERISER ROTARY SEPARATOR-A FB
1095 | PULVERISE ROTARY SEPARATOR-A RB
1096 | PULVERIZER A HP SUPPLY LINE PRESS.
1097 | PULVERIZER A LP PUMP DISCHARGE PRESS
1098 | PULVERIZER A LP PUMP DISCHARGE FILTER DIFF. PRESS
1099 | PULVERIZER A LUBE OIL TANK LEVEL
1100 | PULVERIZER A LUBE OIL TANK TEMP TRANSMITTER
1101 | PULV A O/L TEMP
1102 | PULV A I/L TEMP
1103 | PULV A ROLLER LIFT DETECTOR POS
1104 | PULVERIZER A LOWER HOUSE PRESS.
1105 | PULV A LP COMMON THRUST PAD SUPPLY LINE PRESS
1106 | PULVERIZER A LP LINE FLOW
1107 | PULVERIZER A LP PUMP FILTER OUTLET TEMP
1108 | COAL PULVERIZER A MOTOR BEARING TEMP-NDE 1
1109 | COAL PULVERIZER A MOTOR CURRENT
1110 | COAL FEEDER-A SPEED CONTROL FB
1111 | COAL FEEDER-A SPEED CONTROL RB
1112 | PULV-A MEAN GRINDING PRESS
1113 | MILL A I/L FLO
1114 | PULVERIZER A INLET AIR PRESS
1115 | PULV-A I/L COLD AIR DMPR FB
1116 | PULV-A I/L HOT AIR DMPR FB
1117 | PULVERIZER A HYDRAULIC OIL PUMP PRESS.
1118 | PULVERIZER A HYDRAULIC OIL TANK LEVEL
1119 | PULVERIZER A HYDRAULIC OIL TANK TEMP
1120 | COAL BURNER A3 FLAME DETECTOR INTENSITY SIGNAL
1121 | PULVERIZER B - SEAL AIR D. PRESS.
1122 | PULVERIZER C - SEAL AIR D. PRESS.
1123 | PULVERIZER D - SEAL AIR D. PRESS.
1124 | PULVERIZER E SEAL AIR D. PRESS.
1125 | PULVERIZER F - SEAL AIR D. PRESS.
1126 | PULV B FURNACE DIFF PRESS
1127 | PULV C FURNACE DIFF PRESS
1128 | PULV D FURNACE DIFF PRESS
1129 | PULV E FURNACE DIFF PRESS
1130 | PULV F FURNACE DIFF PRESS
1131 | PULVERIZER B LOWER-UPPER HOUSE D. PRESS.
1132 | PULVERIZER C LOWER-UPPER HOUSE D. PRESS.
1133 | PULVERIZER D LOWER-UPPER HOUSE D. PRESS.
1134 | PULVERIZER E LOWER-UPPER HOUSE D. PRESS.
1135 | PULVERIZER F LOWER-UPPER HOUSE D. PRESS.
1136 | PULVERISER ROTARY SEPARATOR B FB
1137 | PULVERIZER ROTARY SEPARATOR C FB
1138 | PULVERISER ROTARY SEPARATOR D FB
1139 | PULVERISER ROTARY SEPARATOR E FB
1140 | PULVERISER ROTARY SEPARATOR F FB
1141 | PULVERISE ROTARY SEPARATOR B RB
1142 | PULVERISE ROTARY SEPARATOR C RB
1143 | PULVERISE ROTARY SEPARATOR D RB
1144 | PULVERISE ROTARY SEPARATOR E RB
1145 | PULVERISE ROTARY SEPARATOR F RB
1146 | PULVERIZER B HP SUPPLY LINE PRESS
1147 | PULVERIZER C HP SUPPLY LINE PRESS.
1148 | PULVERIZER D HP SUPPLY LINE PRESS
1149 | PULVERIZER E HP SUPPLY LINE PRESS
1150 | PULVERIZER F HP SUPPLY LINE PRESS
1151 | PULVERIZER B LP PUMP DISCHARGE PRESS
1152 | PULVERIZER C LP PUMP DISCHARGE PRESS
1153 | PULVERIZER D LP PUMP DISCHARGE PRESS 1
1154 | PULVERIZER E LP PUMP DISCHARGE PRESS 1
1155 | PULVERIZER F LP PUMP DISCHARGE PRESS 1
1156 | PULVERIZER B LUBE OIL TANK LEVEL
1157 | PULVERIZER B LUBRICATION OIL TANK TEMP
1158 | PULVERIZER C LUBE OIL TANK LEVEL
1159 | PULVERIZER C LUBE OIL TANK TEMPTRANSMITTER
1160 | PULVERIZER D LUBE OIL TANK LEVEL
1161 | PULVERIZER D LUBE OIL TANK TEMPTRANSMITTER
1162 | PULVERIZER E LUBE OIL TANK LEVEL
1163 | PULVERIZER E LUBRICATION OIL TANK TEMP
1164 | PULVERIZER F LUBE OIL TANK LEVEL
1165 | PULVERIZER F LUBE OIL TANK TEMP TRANSMITTER
1166 | PULV B I/L TEMP
1167 | PULV B O/L TEMP
1168 | PULV C I/L TEMP
1169 | PULV C O/L TEMP
1170 | PULV D I/L TEMP
1171 | PULV D O/L TEMP
1172 | PULV E I/L TEMP
1173 | PULV E O/L TEMP
1174 | PULV F I/L TEMP
1175 | PULV F O/L TEMP
1176 | PULV-B MEAN GRINDING PRESS
1177 | PULV-C MEAN GRINDING PRESS
1178 | PULV-D MEAN GRINDING PRESS
1179 | PULV-E MEAN GRINDING PRESS
1180 | PULV-F MEAN GRINDING PRESS
1181 | COAL BURNER B3 FLAME DETECTOR INTENSITY SIGNAL
1182 | COAL BURNER C3 FLAME DETECTOR INTENSITY SIGNAL
1183 | COAL BURNER D3 FLAME DETECTOR INTENSITY SIGNAL
1184 | COAL BURNER E3 FLAME DETECTOR INTENSITY SIGNAL
1185 | COAL BURNER F3 FLAME DETECTOR INTENSITY SIGNAL
1186 | PULVERIZER B LP PUMP FILTER OUTLET TEMP
1187 | PULVERIZER C LP PUMP FILTER OUTLET TEMP
1188 | PULVERIZER D LP PUMP FILTER OUTLET TEMP
1189 | PULVERIZER E LP PUMP FILTER OUTLET TEMP
1190 | PULVERIZER F LP PUMP FILTER OUTLET TEMP
1191 | PULV B ROLLER LIFT DETECTOR POS
1192 | PULV C ROLLER LIFT DETECTOR POS
1193 | PULV D ROLLER LIFT DETECTOR POS
1194 | PULV E ROLLER LIFT DETECTOR POS
1195 | PULV F ROLLER LIFT DETECTOR POS
1196 | PULVERIZER B LOWER HOUSE PRESS.
1197 | PULVERIZER C LOWER HOUSE PRESS.
1198 | PULVERIZER D LOWER HOUSE PRESS.
1199 | PULVERIZER E LOWER HOUSE PRESS.
1200 | PULVERIZER F LOWER HOUSE PRESS.
1201 | PULV B LP COMMON THRUST PAD SUPPLY LINE PRESS
1202 | PULV C LP COMMON THRUST PAD SUPPLY LINE PRESS
1203 | PULV D LP COMMON THRUST PAD SUPPLY LINE PRESS
1204 | PULV E LP COMMON THRUST PAD SUPPLY LINE PRESS
1205 | PULV F LP COMMON THRUST PAD SUPPLY LINE PRESS
1206 | PULVERIZER B LP LINE FLOW
1207 | PULVERIZER B LP PUMP DISCHARGE FILTER DIFF. PRESS .
1208 | PULVERIZER C LP LINE FLOW
1209 | PULVELIZER C LP PUMP DISCHARGE FILTER DIFF. PRESS
1210 | PULVERIZER D LP LINE FLOW
1211 | PULVERIZER D LP PUMP DISCHARGE FILTER DIFF. PRESS
1212 | PULVERIZER E LP LINE FLOW
1213 | PULVERIZER E LP PUMP DISCHARGE FILTER DIFF. PRESS
1214 | PULVERIZER F LP LINE FLOW
1215 | PULVERIZER F LP PUMP DISCHARGE FILTER DIFF. PRESS
1216 | COAL PULVERIZER B MOTOR CURRENT
1217 | COAL PULVERIZER B MOTOR BEARING TEMP-NDE 1
1218 | COAL PULVERIZER C MOTOR CURRENT
1219 | COAL PULVERIZER C MOTOR BEARING TEMP-NDE 1
1220 | COAL PULVERIZER D MOTOR CURRENT
1221 | COAL PULVERIZER D MOTOR BEARING TEMP-NDE 1
1222 | COAL PULVERIZER E MOTOR CURRENT
1223 | COAL PULVERIZER E MOTOR BEARING TEMP-NDE 1
1224 | COAL PULVERIZER F MOTOR CURRENT
1225 | COAL PULVERIZER F MOTOR BEARING TEMP-NDE 1
1226 | COAL FEEDER-B SPEED CONTROL FB
1227 | COAL FEEDER-B SPEED CONTROL RB
1228 | COAL FEEDER-C SPEED CONTROL FB
1229 | COAL FEEDER-C SPEED CONTROL RB
1230 | COAL FEEDER-D SPEED CONTROL FB
1231 | COAL FEEDER-D SPEED CONTROL RB
1232 | COAL FEEDER-E SPEED CONTROL FB
1233 | COAL FEEDER-E SPEED CONTROL RB
1234 | COAL FEEDER-F SPEED CONTROL FB
1235 | COAL FEEDER-F SPEED CONTROL RB
1236 | MILL B I/L FLO
1237 | MILL C I/L FLO
1238 | MILL D I/L FLO
1239 | MILL E I/L FLO
1240 | MILL F I/L FLO
1241 | PULVERIZER B INLET AIR PRESS
1242 | PULVERIZER C INLET AIR PRESS
1243 | PULVERIZER D INLET AIR PRESS
1244 | PULVERIZER E INLET AIR PRESS
1245 | PULVERIZER F INLET AIR PRESS
1246 | PULV-B I/L COLD AIR DMPR FB
1247 | PULV-B I/L HOT AIR DMPR FB
1248 | PULV-C I/L COLD AIR DMPR FB
1249 | PULV-C I/L HOT AIR DMPR FB
1250 | PULV-D I/L COLD AIR DMPR FB
1251 | PULV-D I/L HOT AIR DMPR FB
1252 | PULV-E I/L COLD AIR DMPR FB
1253 | PULV-E I/L HOT AIR DMPR FB
1254 | PULV-F I/L COLD AIR DMPR FB
1255 | PULV-F I/L HOT AIR DMPR FB
1256 | PULVERIZER B HYDRAULIC OIL TANK LEVEL
1257 | PULVERIZER B HYDRAULIC OIL TANK TEMP
1258 | PULVERIZER B HYDRAULIC OIL PUMP PRESS
1259 | PULVERIZER C HYDRAULIC OIL TANK LEVEL
1260 | PULVERIZER C HYDRAULIC OIL TANK TEMP
1261 | PULVELIZER C HYDRAULIC OIL PUMP PRESS
1262 | PULVERIZER D HYDRAULIC OIL TANK LEVEL
1263 | PULVERIZER D HYDRAULIC OIL TANK TEMP
1264 | PULVERIZER D HYDRAULIC OIL PRESS
1265 | PULVERIZER E HYDRAULIC OIL TANK LEVEL
1266 | PULVERIZER E HYDRAULIC OIL TANK TEMP
1267 | PULVERIZER E HP SUPPLY LINE PRESS
1268 | PULVERIZER F HYDRAULIC OIL TANK LEVEL
1269 | PULVERIZER F HYDRAULIC OIL TANK TEMP
1270 | PULVERIZER F HYDRAULIC OIL PRESS
1271 | NUMBER OF COAL BURNER
1272 | NUMBER OF HEAVY FUEL OIL BUNER
1273 | NUMBER OF LDO BURNER
1274 | 1RY AIR DRAFT CNTRL PRESS
1275 | HOT 1RY AIR TEMP AT AH-A O/L
1276 | HOT 1RY AIR TEMP AT AH-B O/L
1277 | PULVERIZER A PRIMARY AIR FLOW SETPOINT
1278 | PULVERIZER B PRIMARY AIR FLOW SETPOINT
1279 | PULVERIZER C PRIMARY AIR FLOW SETPOINT
1280 | PULVERIZER D PRIMARY AIR FLOW SETPOINT
1281 | PULVERIZER E PRIMARY AIR FLOW SETPOINT
1282 | PULVERIZER F PRIMARY AIR FLOW SETPOINT
1283 | TOTAL COAL FLOW
1284 | TOTAL FUEL FLOW
1285 | COAL MASTER DEMAND
1286 | MS LINE A PRESS
1287 | MW DEMAND
1288 | GENERATOR MW
1289 | BOILER INPUT DEMAND
1290 | PULV-A I/L COLD AIR DMPR RB
1291 | PULV-A I/L COLD AIR DMPR FB
1292 | PULV-A I/L HOT AIR DMPR RB
1293 | PULV-A I/L COLD AIR DMPR FB
1294 | PULV-B I/L COLD AIR DMPR RB
1295 | PULV-B I/L COLD AIR DMPR FB
1296 | PULV-B I/L HOT AIR DMPR RB
1297 | PULV-B I/L HOT AIR DMPR FB
1298 | PULV-C I/L COLD AIR DMPR RB
1299 | PULV-C I/L COLD AIR DMPR FB
1300 | PULV-C I/L HOT AIR DMPR RB
1301 | PULV-C I/L HOT AIR DMPR FB
1302 | PULV-D I/L COLD AIR DMPR RB
1303 | PULV-D I/L COLD AIR DMPR FB
1304 | PULV-D I/L HOT AIR DMPR RB
1305 | PULV-D I/L HOT AIR DMPR FB
1306 | PULV-E I/L COLD AIR DMPR RB
1307 | PULV-E I/L COLD AIR DMPR FB
1308 | PULV-E I/L HOT AIR DMPR RB
1309 | PULV-E I/L HOT AIR DMPR FB
1310 | PULV-F I/L COLD AIR DMPR RB
1311 | PULV-F I/L COLD AIR DMPR FB
1312 | PULV-F I/L HOT AIR DMPR RB
1313 | PULV-F I/L HOT AIR DMPR FB

## Design Temperature Details
DESIGN TEMPERATURE OF TUBES
ROOF HOUSING METAL TEMP LIST
| SERVICE | TYPE | ELEMENT | DESIGN TEMP | Corrected Design Temp | HIGH ALARM SET POINT
| FURNACE O/L HDR. METAL TEMP. (FRONT) #39 | PAD | K | 450 | 450 | REFER TO DCS LOGIC FOR HIGH ALARM SET POINT
| FURNACE O/L HDR. METAL TEMP. (FRONT) #117 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (FRONT) #192 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (FRONT) #270 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (FRONT) #343 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (FRONT) #420 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (FRONT) #496 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (FRONT) #574 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (RIGHT) #38 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (RIGHT) #112 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (RIGHT) #187 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (RIGHT) #261 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (LEFT) #38 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (LEFT) #112 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (LEFT) #187 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (LEFT) #261 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (REAR) #39 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (REAR) #117 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (REAR) #192 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (REAR) #270 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (REAR) #343 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (REAR) #420 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (REAR) #496 | PAD | K | 450 | 450
| FURNACE O/L HDR. METAL TEMP. (REAR) #574 | PAD | K | 450 | 450
| 2RY PASS O/L HDR. METAL TEMP. (FRONT)#51 | PAD | K | 450 | 450
| 2RY PASS O/L HDR. METAL TEMP. (LEFT)#58 | PAD | K | 450 | 450
| 2RY PASS O/L HDR. METAL TEMP. (DIVISION)#68 | PAD | K | 450 | 450
| 2RY PASS O/L HDR. METAL TEMP. (REAR)#102 | PAD | K | 450 | 450
INTERMEDIATE HEADER METAL TEMP (FRONT)
| SERVICE | TYPE | ELEMENT | DESIGN TEMP
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#4 | PAD | K | 450 | 450 | REFER TO DCS LOGIC FOR HIGH ALARM SET POINT
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#18 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#38 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#60 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#80 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#98 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#118 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#138 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#158 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#178 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#198 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#216 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#228 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#240 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#250 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#264 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#286 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#306 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#326 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#348 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#362 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#372 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#384 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#396 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#414 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#434 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#454 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#474 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#494 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#514 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#532 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#552 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#574 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#594 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (FORNT)#608 | PAD | K | 450 | 450
| FURNACE 2RY INTERMEDIATE HDR INLET METAL TEMP (FORNT) | PAD | K | 450 | 450
INTERMEDIATE HEADER METAL TEMP (RIGHT SIDE)
| SERVICE | TYPE | ELEMENT | DESIGN TEMP
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#12 | PAD | K | 450 | 450 | REFER TO DCS LOGIC FOR HIGH ALARM SET POINT
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#36 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#58 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#78 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#98 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#118 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#138 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#150 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#160 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#180 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#200 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#220 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#240 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#262 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#286 | PAD | K | 450 | 450
| FURNACE 2RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT) | PAD | K | 450 | 450
INTERMEDIATE HEADER METAL TEMP (REAR)
| SERVICE | TYPE | ELEMENT | DESIGN TEMP
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#4 | PAD | K | 450 | 450 | REFER TO DCS LOGIC FOR HIGH ALARM SET POINT
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#18 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#38 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#60 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#80 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#98 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#118 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#138 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#158 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#178 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#198 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#216 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#228 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#240 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#250 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#264 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#286 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#306 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#326 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#348 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#362 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#372 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#384 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#396 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#414 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#434 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#454 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#474 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#494 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#514 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#532 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#552 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#574 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#594 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (REAR)#608 | PAD | K | 450 | 450
| FURNACE 2RY INTERMEDIATE HDR INLET METAL TEMP (REAR) | PAD | K | 450 | 450
INTERMEDIATE HEADER METAL TEMP (LEFT SIDE)
| SERVICE | TYPE | ELEMENT | DESIGN TEMP
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#12 | PAD | K | 450 | 450 | REFER TO DCS LOGIC FOR HIGH ALARM SET POINT
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#36 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#58 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#78 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#98 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#118 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#138 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#150 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#160 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#180 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#200 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#220 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#240 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#262 | PAD | K | 450 | 450
| FURNACE 1RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT)#286 | PAD | K | 450 | 450
| FURNACE 2RY INTERMEDIATE HDR INLET METAL TEMP (RIGHT) | PAD | K | 450 | 450
SH & RH METAL TEMPERATURE LIST
| SERVICE | TYPE | ELEMENT | DESIGN TEMP
| 1RY SH O/L HDR. METAL TEMP. 1#101 | PAD | K | 472 | 472 | REFER TO DCS LOGIC FOR HIGH ALARM SET POINT
| 1RY SH O/L HDR. METAL TEMP. 2#88 | PAD | K | 472 | 472
| 1RY SH O/L HDR. METAL TEMP. 3#76 | PAD | K | 472 | 472
| 1RY SH O/L HDR. METAL TEMP. 4#64 | PAD | K | 472 | 472
| 1RY SH O/L HDR. METAL TEMP. 5#51 | PAD | K | 472 | 472
| 1RY SH O/L HDR. METAL TEMP. 6#39 | PAD | K | 472 | 472
| 1RY SH O/L HDR. METAL TEMP. 7#27 | PAD | K | 472 | 472
| 1RY SH O/L HDR. METAL TEMP. 8#15 | PAD | K | 472 | 472
| 1RY SH O/L HDR. METAL TEMP. 9#2 | PAD | K | 472 | 472
| 2RY SH O/L HDR. METAL TEMP. 1#A3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 2#B3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 3#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 4#D3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 5#D3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 6#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 7#B3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 8#A3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 9#A3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 10#B3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 11#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 12#D3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 13#D3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 14#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 15#B3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 16#A3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 17#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 18#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 19#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 20#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 21#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 22#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 23#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 24#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 25#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 26#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 27#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 28#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 29#C3 | PAD | K | 603 | 639
| 2RY SH O/L HDR. METAL TEMP. 30#C3 | PAD | K | 603 | 639
| 3RY SH O/L HDR. METAL TEMP. 1#49 | PAD | K | 593 | 599
| 3RY SH O/L HDR. METAL TEMP. 2#44 | PAD | K | 593 | 599
| 3RY SH O/L HDR. METAL TEMP. 3#38 | PAD | K | 593 | 599
| 3RY SH O/L HDR. METAL TEMP. 4#32 | PAD | K | 593 | 599
| 3RY SH O/L HDR. METAL TEMP. 5#25 | PAD | K | 593 | 599
| 3RY SH O/L HDR. METAL TEMP. 6#19 | PAD | K | 593 | 599
| 3RY SH O/L HDR. METAL TEMP. 7#13/11 | PAD | K | 593 | 599
| 3RY SH O/L HDR. METAL TEMP. 8#7 | PAD | K | 593 | 599
| 3RY SH O/L HDR. METAL TEMP. 9#2 | PAD | K | 593 | 599
| 3RY SH O/L HDR. METAL TEMP. 10#13/10 | PAD | K | 593 | 599
| 3RY SH O/L HDR. METAL TEMP. 11#13/7 | PAD | K | 593 | 599
| 3RY SH O/L HDR. METAL TEMP. 12#13/5 | PAD | K | 593 | 599
| 3RY SH O/L HDR. METAL TEMP. 13#13/3 | PAD | K | 593 | 599
| 3RY SH O/L HDR. METAL TEMP. 14#13/2 | PAD | K | 593 | 599
| 3RY SH O/L HDR. METAL TEMP. 15#13/1 | PAD | K | 593 | 599
| 1RY RH O/L HDR. METAL TEMP. 1#101 | PAD | K | 561 | 561
| 1RY RH O/L HDR. METAL TEMP. 2#88 | PAD | K | 561 | 561
| 1RY RH O/L HDR. METAL TEMP. 3#76 | PAD | K | 561 | 561
| 1RY RH O/L HDR. METAL TEMP. 4#64 | PAD | K | 561 | 561
| 1RY RH O/L HDR. METAL TEMP. 5#51 | PAD | K | 561 | 561
| 1RY RH O/L HDR. METAL TEMP. 6#39 | PAD | K | 561 | 561
| 1RY RH O/L HDR. METAL TEMP. 7#27 | PAD | K | 561 | 561
| 1RY RH O/L HDR. METAL TEMP. 8#15 | PAD | K | 561 | 561
| 1RY RH O/L HDR. METAL TEMP. 9#2 | PAD | K | 561 | 561
| 2RY RH O/L HDR. METAL TEMP. 1#99 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 2#88 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 3#76 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 4#63 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 5#50 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 6#38 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 7#25/3 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 8#13 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 9#2 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 10#25/13 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 11#25/12 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 12#25/10 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 13#25/8 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 14#25/6 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 15#25/5 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 16#25/2 | PAD | K | 641 | 641
| 2RY RH O/L HDR. METAL TEMP. 17#25/1 | PAD | K | 641 | 641
METAL TEMPERATURE AT FURNACE LOWER WATER WALL (FRONT)
| SERVICE | TYPE | ELEMENT | DESIGN TEMP
| RIFLE TUBE 1#153 (+34800) | CHORDAL |  | 490 | 490 | REFER TO DCS LOGIC FOR HIGH ALARM SET POINT
| RIFLE TUBE 2#153 (+41200) | CHORDAL |  | 490 | 490
| RIFLE TUBE 3#153 (+42900) | CHORDAL |  | 490 | 490
| RIFLE TUBE 4#153 (+47200) | CHORDAL |  | 490 | 490
| RIFLE TUBE 5#154 (+41200) | CHORDAL |  | 490 | 490
| RIFLE TUBE 6#306 (+41200) | CHORDAL |  | 490 | 490
| RIFLE TUBE 1#153 (+34800) | PAD |  | 490 | 490
| RIFLE TUBE 2#153 (+41200) | PAD |  | 490 | 490
| RIFLE TUBE 3#153 (+42900) | PAD |  | 490 | 490
| RIFLE TUBE 4#153 (+47200) | PAD |  | 490 | 490
| RIFLE TUBE 5#154 (+41200) | PAD |  | 490 | 490
| RIFLE TUBE 6#306 (+41200) | PAD |  | 490 | 490
METAL TEMPERATURE AT FURNACE LOWER WATER WALL (REAR)
| SERVICE | TYPE | ELEMENT | DESIGN TEMP
| RIFLE TUBE 1#153 (+41200) | CHORDAL |  | 490 | 490 | REFER TO DCS LOGIC FOR HIGH ALARM SET POINT
| RIFLE TUBE 2#154 (+34800) | CHORDAL |  | 490 | 490
| RIFLE TUBE 3#154 (+41200) | CHORDAL |  | 490 | 490
| RIFLE TUBE 4#154 (+42900) | CHORDAL |  | 490 | 490
| RIFLE TUBE 5#154 (+47200) | CHORDAL |  | 490 | 490
| RIFLE TUBE 6#306 (+41200) | CHORDAL |  | 490 | 490
| RIFLE TUBE 1#153 (+41200) | PAD |  | 490 | 490
| RIFLE TUBE 2#154 (+34800) | PAD |  | 490 | 490
| RIFLE TUBE 3#154 (+41200) | PAD |  | 490 | 490
| RIFLE TUBE 4#154 (+42900) | PAD |  | 490 | 490
| RIFLE TUBE 5#154 (+47200) | PAD |  | 490 | 490
| RIFLE TUBE 6#306 (+41200) | PAD |  | 490 | 490
METAL TEMPERATURE AT FURNACE LOWER WATER WALL (LEFT)
| SERVICE | TYPE | ELEMENT | DESIGN TEMP
| RIFLE TUBE 1#150 (+34800) | CHORDAL |  | 490 | 490 | REFER TO DCS LOGIC FOR HIGH ALARM SET POINT
| RIFLE TUBE 2#150 (+41200) | CHORDAL |  | 490 | 490
| RIFLE TUBE 3#150 (+42900) | CHORDAL |  | 490 | 490
| RIFLE TUBE 4#150 (+47200) | CHORDAL |  | 490 | 490
| RIFLE TUBE 1#150 (+34800) | PAD |  | 490 | 490
| RIFLE TUBE 2#150 (+41200) | PAD |  | 490 | 490
| RIFLE TUBE 3#150 (+42900) | PAD |  | 490 | 490
| RIFLE TUBE 4#150 (+47200) | PAD |  | 490 | 490
METAL TEMPERATURE AT FURNACE LOWER WATER WALL (RIGHT)
| SERVICE | TYPE | ELEMENT | DESIGN TEMP
| RIFLE TUBE 1#150 (+41200) | CHORDAL |  | 490 | 490 | REFER TO DCS LOGIC FOR HIGH ALARM SET POINT
| RIFLE TUBE 1#150 (+41200) | PAD |  | 490 | 490